COMSATS University, Islamabad

Sahiwal campus

Works Department

COMSATS Road, Off G.T.Road, Sahiwal

Tel: 040-4305004  Web: www.cuisahiwal.edu.pk

No. COMSATS/SWL/WD/				Dated: November 28, 2023

OFFICE NOTE:

NOTICE INVITING QUOTATION

Sealed quotations are invited by the undersigned on 01.12.2023 at 10:30 AM for the following works from the registered PEC firm/contractors. The quotations will be opened at 12:00 PM on the same day in the presence of those bidders who may wish to attend. COMSATS University Islamabad, Sahiwal campus reserves all the rights to reject all quotations at any time prior to the acceptance of quotations. CUI, Sahiwal campus will communicate the grounds for rejection of quotations upon request of any supplier or contractor but not liable to justify those grounds.

| Sr.No | Name of work/Description | Unit | Rate (Rs.) |
| --- | --- | --- | --- |
| 1. | REFURBISHING OF TOILET ATTACHED WITH DIRECTOR’S OFFICE. | As per Detail |  |

Note: - Detail description is at next page

___________________

M. Amir Raza

Secretary QOC

CUI, Sahiwal campus

Cc:

- Director, CUI, Sahiwal.

- Software Developer for publishing on the website.

| COMSATS University, Islamabad. |
| --- |
| Sahiwal campus |  |  |  |  |  |  |  |
| Works Department |  |  |  |  |  |  |  |
| COMSATS Road, Off G.T.Road, Sahiwal |  |  |  |  |  |  |  |
| Tel: 040-4305004 Web: www.cuisahiwal.edu.pk |  |  |  |  |  |  |  |
| REFURBISHING OF TOILET ATTACHED WITH DIRECTOR’S OFFICE |  |  |  |  |  |  |  |
| Sr. No | Description | Unit |  | Qty | Rates | Amount | Remarks |
|  | CIVIL WORKS |  |  |  |  |  |  |
| 1 | Dismentling slates or tiles including battens,purlins and planking.i/c removal of waste material. | P. Sft |  | 183.67 |  |  |  |
| 2 | Providing and laying superb quality Porcelain glazed tiles flooring of approved Design and sample Size 12"x32" Size 1/2" thick, Color and Shade with adhesive/ bond over 3/4" thick (1:3) cement plaster i/c the cost of sealer for finishing the joints i/c cutting grinding complete in all respect as approved and directed by the Engineer Incharge. | P. Sft |  | 25.73 |  |  |  |
| 3 | Providing and laying superb quality Porcelain glazed tiles Dado Skirting of approved Design and sample Size 12"x32" Size 1/2" thick, Color and Shade with adhesive/ bond over 1/2" thick (1:2) cement plaster i/c the cost of sealer for finishing the joints i/c cutting grinding complete in all respect as approved and directed by the Engineer Incharge. | P. Sft |  | 156.66 |  |  |  |
| 4 | Providing, installing testing and commissioning Porta make or approved water closet with flushing tank including water and waste water connecting pipes and Muslim shower, double bib cock ,C.P. brass T. cocks and Floor drain Stainless steel jail size 6”x6” complete in all respects and colour as as per approved .European W.C. with seat cover. | P. NO |  | 1 |  |  |  |
| 5 | Providing and fixing of counter vanity with looking glass. Vanity counter size 18" x 24" as per approved make and Design including, screws, 15 mm dia. C.P. brass ,T. cocks, 40 mm dia heavy duty waste coupling, Hand Mixer double (heat & cool) water and PVC flexible waste pipe of approved make and quality complete | P.NO |  | 1 |  |  |  |
|  | Total |  |  |  |  |  |  |
|  | Add 5% PST |  |  |  |  |  |  |
|  | Grand Total Amount Rs. |  |  |  |  |  |  |

Sign stamp contractor